## Readings
Flowmeter Reader — Flow Report
TUF-2000H · PT Arsindo Integrasi Pompa · Licensed for Taikhisa
Project | Demo — Cooling Water Loop
Operator | Taikhisa
Site | Plant 2 / Header A
Notes | Simulated commissioning run (sample deliverable).
Started | 2026-07-02T12:19:09+07:00
Meter ID | 88888
Meter ESN | D20240001
Location | Jakarta, ID
Latitude | -6.175100
Longitude | 106.865000
Software | PT Arsindo Integrasi Pompa · v1.0.0 · Licensed for Taikhisa
timestamp | flow_rate | flow_unit | velocity | velocity_unit | pos_total | net_total | total_unit | signal_up | signal_dn | quality | meter_time | stale
2026-07-02T12:17:09 | 123.0315 | m3/h | 1.8891 | m/s | 0.10385 | 0.13978 | m3 | 786 | 794 | 99 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:10 | 136.9997 | m3/h | 2.0936 | m/s | 0.329 | 0.36813 | m3 | 771 | 762 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:11 | 144.5885 | m3/h | 2.1982 | m/s | 0.56848 | 0.60897 | m3 | 803 | 793 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:12 | 142.1723 | m3/h | 2.1489 | m/s | 0.80634 | 0.8445 | m3 | 745 | 757 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:13 | 133.4214 | m3/h | 1.9972 | m/s | 1.0288 | 1.064 | m3 | 770 | 764 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:14 | 118.5431 | m3/h | 1.7458 | m/s | 1.227 | 1.2572 | m3 | 798 | 792 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:15 | 104.3712 | m3/h | 1.5425 | m/s | 1.4014 | 1.429 | m3 | 745 | 736 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:16 | 96.8563 | m3/h | 1.4588 | m/s | 1.5622 | 1.5884 | m3 | 720 | 719 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:17 | 98.4375 | m3/h | 1.5097 | m/s | 1.7239 | 1.752 | m3 | 707 | 699 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:18 | 106.9464 | m3/h | 1.6657 | m/s | 1.9007 | 1.933 | m3 | 740 | 731 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:19 | 123.7673 | m3/h | 1.9174 | m/s | 2.1037 | 2.1395 | m3 | 768 | 761 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:20 | 137.9217 | m3/h | 2.1105 | m/s | 2.3295 | 2.3692 | m3 | 711 | 720 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:21 | 143.4122 | m3/h | 2.1954 | m/s | 2.5694 | 2.6097 | m3 | 776 | 775 | 93 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:22 | 142.9983 | m3/h | 2.1822 | m/s | 2.808 | 2.8462 | m3 | 796 | 789 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:23 | 131.3347 | m3/h | 1.9837 | m/s | 3.03 | 3.0652 | m3 | 733 | 734 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:24 | 118.6247 | m3/h | 1.7691 | m/s | 3.2288 | 3.2594 | m3 | 719 | 715 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:25 | 104.6322 | m3/h | 1.5673 | m/s | 3.404 | 3.4314 | m3 | 714 | 728 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:26 | 96.5413 | m3/h | 1.4432 | m/s | 3.5645 | 3.5913 | m3 | 710 | 718 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:27 | 98.5953 | m3/h | 1.5026 | m/s | 3.7273 | 3.7556 | m3 | 721 | 714 | 93 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:28 | 107.2694 | m3/h | 1.6631 | m/s | 3.9055 | 3.9376 | m3 | 739 | 736 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:29 | 122.4275 | m3/h | 1.9116 | m/s | 4.1074 | 4.1433 | m3 | 775 | 777 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:30 | 135.2498 | m3/h | 2.1246 | m/s | 4.3323 | 4.3713 | m3 | 742 | 729 | 93 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:31 | 144.9606 | m3/h | 2.1979 | m/s | 4.5705 | 4.6111 | m3 | 760 | 752 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:32 | 142.5598 | m3/h | 2.1434 | m/s | 4.8089 | 4.8473 | m3 | 810 | 818 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:33 | 133.9525 | m3/h | 1.9683 | m/s | 5.0312 | 5.0658 | m3 | 731 | 722 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:34 | 116.3073 | m3/h | 1.7377 | m/s | 5.2286 | 5.2595 | m3 | 803 | 815 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:35 | 101.9235 | m3/h | 1.5708 | m/s | 5.4032 | 5.4309 | m3 | 808 | 800 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:36 | 95.4904 | m3/h | 1.4687 | m/s | 5.5648 | 5.591 | m3 | 749 | 742 | 99 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:37 | 97.0264 | m3/h | 1.4975 | m/s | 5.7264 | 5.755 | m3 | 791 | 791 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:38 | 106.6531 | m3/h | 1.6561 | m/s | 5.9038 | 5.9354 | m3 | 706 | 709 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:39 | 123.6714 | m3/h | 1.8951 | m/s | 6.1059 | 6.1417 | m3 | 776 | 763 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:40 | 136.4396 | m3/h | 2.1353 | m/s | 6.3317 | 6.3711 | m3 | 710 | 708 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:41 | 144.522 | m3/h | 2.2309 | m/s | 6.5712 | 6.6116 | m3 | 750 | 739 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:42 | 142.7103 | m3/h | 2.1816 | m/s | 6.8102 | 6.8483 | m3 | 772 | 760 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:43 | 132.5177 | m3/h | 1.9699 | m/s | 7.0319 | 7.0663 | m3 | 736 | 726 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:44 | 117.9974 | m3/h | 1.7573 | m/s | 7.2301 | 7.2607 | m3 | 804 | 806 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:45 | 102.0825 | m3/h | 1.5653 | m/s | 7.4042 | 7.4318 | m3 | 719 | 712 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:46 | 96.1992 | m3/h | 1.4385 | m/s | 7.5652 | 7.5914 | m3 | 815 | 829 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:47 | 97.5642 | m3/h | 1.5161 | m/s | 7.7264 | 7.7544 | m3 | 733 | 723 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:48 | 108.117 | m3/h | 1.6791 | m/s | 7.9034 | 7.9357 | m3 | 719 | 721 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:49 | 122.8607 | m3/h | 1.8947 | m/s | 8.1059 | 8.1419 | m3 | 801 | 813 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:50 | 135.8585 | m3/h | 2.1036 | m/s | 8.3314 | 8.371 | m3 | 752 | 756 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:51 | 145.7433 | m3/h | 2.2277 | m/s | 8.5723 | 8.6128 | m3 | 703 | 693 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:52 | 143.6858 | m3/h | 2.1579 | m/s | 8.8118 | 8.8505 | m3 | 720 | 730 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:53 | 133.6165 | m3/h | 2.0031 | m/s | 9.0342 | 9.0692 | m3 | 739 | 750 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:54 | 116.5556 | m3/h | 1.7595 | m/s | 9.2324 | 9.2627 | m3 | 798 | 791 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:55 | 102.9708 | m3/h | 1.57 | m/s | 9.4065 | 9.4342 | m3 | 733 | 723 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:56 | 94.8427 | m3/h | 1.4341 | m/s | 9.5668 | 9.5934 | m3 | 777 | 778 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:57 | 97.3911 | m3/h | 1.4898 | m/s | 9.7285 | 9.7562 | m3 | 768 | 774 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:58 | 108.2111 | m3/h | 1.6624 | m/s | 9.9063 | 9.9386 | m3 | 779 | 774 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:17:59 | 123.2725 | m3/h | 1.9017 | m/s | 10.1093 | 10.1454 | m3 | 737 | 739 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:00 | 137.2231 | m3/h | 2.1095 | m/s | 10.335 | 10.3741 | m3 | 751 | 753 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:01 | 143.8144 | m3/h | 2.2078 | m/s | 10.5738 | 10.6142 | m3 | 756 | 762 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:02 | 143.7198 | m3/h | 2.183 | m/s | 10.813 | 10.8516 | m3 | 784 | 789 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:03 | 133.4553 | m3/h | 1.9982 | m/s | 11.0358 | 11.0703 | m3 | 703 | 689 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:04 | 117.7206 | m3/h | 1.7645 | m/s | 11.2338 | 11.2647 | m3 | 791 | 798 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:05 | 102.5037 | m3/h | 1.5551 | m/s | 11.4079 | 11.4354 | m3 | 713 | 722 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:06 | 96.4586 | m3/h | 1.461 | m/s | 11.5689 | 11.5954 | m3 | 715 | 714 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:07 | 97.6641 | m3/h | 1.5234 | m/s | 11.7319 | 11.7604 | m3 | 778 | 789 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:08 | 107.2802 | m3/h | 1.6949 | m/s | 11.9108 | 11.9424 | m3 | 757 | 750 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:09 | 123.0262 | m3/h | 1.923 | m/s | 12.1131 | 12.1494 | m3 | 709 | 716 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:10 | 136.2358 | m3/h | 2.1331 | m/s | 12.3385 | 12.3775 | m3 | 719 | 726 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:11 | 144.1765 | m3/h | 2.2129 | m/s | 12.5772 | 12.6172 | m3 | 815 | 824 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:12 | 141.3972 | m3/h | 2.1794 | m/s | 12.8155 | 12.854 | m3 | 738 | 747 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:13 | 133.8603 | m3/h | 1.983 | m/s | 13.039 | 13.0738 | m3 | 728 | 728 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:14 | 117.3437 | m3/h | 1.7471 | m/s | 13.2368 | 13.2676 | m3 | 807 | 806 | 99 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:15 | 103.6385 | m3/h | 1.5263 | m/s | 13.4108 | 13.4382 | m3 | 782 | 780 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:16 | 94.5915 | m3/h | 1.441 | m/s | 13.5705 | 13.5969 | m3 | 812 | 809 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:17 | 98.1571 | m3/h | 1.4897 | m/s | 13.732 | 13.7598 | m3 | 744 | 736 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:18 | 108.8719 | m3/h | 1.6553 | m/s | 13.9086 | 13.9402 | m3 | 779 | 768 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:19 | 123.1216 | m3/h | 1.9138 | m/s | 14.1104 | 14.1468 | m3 | 721 | 725 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:20 | 137.3833 | m3/h | 2.1278 | m/s | 14.3371 | 14.3763 | m3 | 818 | 812 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:21 | 145.8282 | m3/h | 2.2062 | m/s | 14.5773 | 14.6172 | m3 | 780 | 772 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:22 | 142.2434 | m3/h | 2.1704 | m/s | 14.8158 | 14.8545 | m3 | 705 | 701 | 93 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:23 | 132.1117 | m3/h | 1.987 | m/s | 15.0381 | 15.0732 | m3 | 713 | 711 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:24 | 118.3729 | m3/h | 1.7617 | m/s | 15.237 | 15.2677 | m3 | 734 | 738 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:25 | 104.0957 | m3/h | 1.5463 | m/s | 15.4126 | 15.44 | m3 | 731 | 742 | 99 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:26 | 96.6912 | m3/h | 1.4403 | m/s | 15.5727 | 15.5992 | m3 | 703 | 703 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:27 | 97.124 | m3/h | 1.4944 | m/s | 15.7339 | 15.7619 | m3 | 812 | 805 | 93 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:28 | 108.8442 | m3/h | 1.6573 | m/s | 15.9113 | 15.9432 | m3 | 788 | 788 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:29 | 122.4577 | m3/h | 1.8887 | m/s | 16.1132 | 16.1493 | m3 | 784 | 787 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:30 | 136.821 | m3/h | 2.1116 | m/s | 16.3388 | 16.3781 | m3 | 734 | 728 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:31 | 145.1175 | m3/h | 2.2025 | m/s | 16.5785 | 16.6191 | m3 | 724 | 715 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:32 | 143.5124 | m3/h | 2.1838 | m/s | 16.8179 | 16.8562 | m3 | 724 | 718 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:33 | 131.9068 | m3/h | 1.9962 | m/s | 17.0393 | 17.0737 | m3 | 737 | 744 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:34 | 118.1452 | m3/h | 1.734 | m/s | 17.236 | 17.2663 | m3 | 743 | 733 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:35 | 104.3569 | m3/h | 1.5303 | m/s | 17.4094 | 17.4367 | m3 | 787 | 773 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:36 | 95.7348 | m3/h | 1.443 | m/s | 17.5698 | 17.596 | m3 | 777 | 781 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:37 | 97.9884 | m3/h | 1.4956 | m/s | 17.7321 | 17.76 | m3 | 754 | 748 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:38 | 107.8289 | m3/h | 1.6873 | m/s | 17.9104 | 17.942 | m3 | 784 | 771 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:39 | 122.7692 | m3/h | 1.8951 | m/s | 18.1115 | 18.1478 | m3 | 704 | 696 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:40 | 137.3372 | m3/h | 2.113 | m/s | 18.3379 | 18.3776 | m3 | 780 | 783 | 95 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:41 | 143.5471 | m3/h | 2.1933 | m/s | 18.5776 | 18.6175 | m3 | 718 | 705 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:42 | 142.2615 | m3/h | 2.1733 | m/s | 18.8152 | 18.8535 | m3 | 788 | 782 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:43 | 131.8167 | m3/h | 1.9885 | m/s | 19.0367 | 19.0716 | m3 | 794 | 789 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:44 | 116.1608 | m3/h | 1.7733 | m/s | 19.2351 | 19.2657 | m3 | 797 | 803 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:45 | 101.8924 | m3/h | 1.5597 | m/s | 19.4093 | 19.4368 | m3 | 723 | 726 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:46 | 95.5215 | m3/h | 1.4333 | m/s | 19.5699 | 19.5962 | m3 | 809 | 799 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:47 | 97.1478 | m3/h | 1.5085 | m/s | 19.7316 | 19.7599 | m3 | 711 | 706 | 89 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:48 | 108.9106 | m3/h | 1.6719 | m/s | 19.9092 | 19.9415 | m3 | 769 | 768 | 91 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:49 | 122.6685 | m3/h | 1.9164 | m/s | 20.1117 | 20.1478 | m3 | 734 | 736 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:50 | 136.5426 | m3/h | 2.1241 | m/s | 20.3372 | 20.3769 | m3 | 730 | 737 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:51 | 142.9947 | m3/h | 2.2068 | m/s | 20.5764 | 20.6169 | m3 | 715 | 720 | 98 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:52 | 144.1366 | m3/h | 2.1524 | m/s | 20.8147 | 20.8531 | m3 | 760 | 752 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:53 | 132.1508 | m3/h | 2.006 | m/s | 21.0373 | 21.0724 | m3 | 735 | 744 | 97 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:54 | 116.9064 | m3/h | 1.7653 | m/s | 21.236 | 21.2661 | m3 | 807 | 810 | 94 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:55 | 103.2407 | m3/h | 1.5319 | m/s | 21.4101 | 21.4373 | m3 | 769 | 766 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:56 | 96.6551 | m3/h | 1.474 | m/s | 21.5712 | 21.5976 | m3 | 752 | 738 | 90 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:57 | 97.7771 | m3/h | 1.5153 | m/s | 21.7337 | 21.762 | m3 | 719 | 719 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:58 | 108.8961 | m3/h | 1.6686 | m/s | 21.9114 | 21.9435 | m3 | 816 | 815 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:18:59 | 122.3431 | m3/h | 1.9179 | m/s | 22.1134 | 22.1496 | m3 | 743 | 747 | 96 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:00 | 135.4692 | m3/h | 2.1072 | m/s | 22.3392 | 22.3785 | m3 | 780 | 787 | 99 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:01 | 145.5708 | m3/h | 2.1897 | m/s | 22.5789 | 22.6193 | m3 | 729 | 737 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:02 | 141.634 | m3/h | 2.1681 | m/s | 22.8177 | 22.8562 | m3 | 815 | 800 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:03 | 131.1684 | m3/h | 1.9802 | m/s | 23.0395 | 23.074 | m3 | 787 | 797 | 87 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:04 | 116.1237 | m3/h | 1.7692 | m/s | 23.2368 | 23.2671 | m3 | 718 | 710 | 92 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:05 | 103.1504 | m3/h | 1.5556 | m/s | 23.4117 | 23.439 | m3 | 769 | 759 | 86 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:06 | 95.083 | m3/h | 1.456 | m/s | 23.5719 | 23.5983 | m3 | 808 | 802 | 88 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:07 | 98.2214 | m3/h | 1.483 | m/s | 23.7336 | 23.7617 | m3 | 789 | 783 | 85 | 2026-07-02 12:19:09 | FALSE
2026-07-02T12:19:08 | 107.9747 | m3/h | 1.666 | m/s | 23.9114 | 23.9435 | m3 | 706 | 720 | 94 | 2026-07-02 12:19:09 | FALSE

## Summary
Session summary
Project | Demo — Cooling Water Loop
Operator | Taikhisa
Samples | 120
Flow min (m3/h) | 94.5915
Flow avg (m3/h) | 120.1729
Flow max (m3/h) | 145.8282
POS total (m3) | 23.9114
NET total (m3) | 23.9435